Scientific goals

How does air pressure affect the damping of a mass on a spring

Instrumentation

Vacuum chamber

- Pressure gauges - use from other set up

- Pumps – use from other set up

- Power supply – can use from other set up

- Valves – use from other set up

- Adapters –  LDS Vacuum Shopper

  - Conflat to NW 25 $72.00 https://www.ldsvacuumshopper.com/234cftonw25.html

- Cart – Uline, 150-190

  - https://www.uline.com/BL_1850/Uline-Utility-Carts

  - https://www.uline.com/BL_1806/Steel-Push-Carts

- Conflat flanges

  - 2.75” – 6

    - O-rings (pack of 5) $23.80 (total $47.60) https://www.ldsvacuumshopper.com/234odconflan3.html

    - nuts and bolts need 6 $6.00 (total $36) https://www.ldsvacuumshopper.com/234odconflan4.html

  - 8” – 2

    - O-rings need 2 $23.00 (total $46) https://www.ldsvacuumshopper.com/8odconflan.html

    - nuts and bolts need 2 $32.00 (total $64) https://www.ldsvacuumshopper.com/8odconflan1.html

- Large flange

  - .355 inch grove, ~18” outer diameter, may need cord stock

  - Need nuts and bolts .42” bolt holes, 16 holes, 1.2” total plate thickness

- ASA flange

  - 6”

    - O-ring $4.00 https://www.ldsvacuumshopper.com/fcoasao2.html

    - bolts $18.50 https://ancorp.com/product/0606502/

- Viewport (comes with copper gasket, for conflat)

  - 8” $954.20 https://www.ldsvacuumshopper.com/8cfviewport.html

  - 2.75” $184.80 https://www.ldsvacuumshopper.com/234cfviewport.html

- Blanks

  - 8” $156 https://www.ldsvacuumshopper.com/8odblank.html

  - 2.75” $24.15 https://www.ldsvacuumshopper.com/234nonblan.html

Spring

- Spring – in physics lab storage

- Masses – in physics lab storage

- Index card – probably some somewhere in physics department, I also have some

- Measurement – need to figure out, possibly use video analysis, see what there is in physics lab storage

- Electromagnet or some other form of mass release mechanism – may need to build, see what there is in physics storage

Milestones

- Build the vacuum chamber for rough vacuum

  - Order Parts - Lds vacuum shopper, uline

  - Clean inside of chamber and flanges

  - Fit parts

    - Leak testing

    - Gauge characterization and calibration - can use data from vacuum unit

- How air pressure changes damping

  - Can reuse code from data analysis to analyze mass-spring system

- Continue building vacuum chamber for high vacuum